## Foglio1
W ¦ Dc contactor #1(string#1(+)) sensing fail. | Warnings | wCommWarn1St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Dc contactor #2(string#2(+)) sensing fail. | Warnings | wCommWarn1St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Dc contactor #3(main(-)) sensing fail. | Warnings | wCommWarn1St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Dc contactor #1(string#1(+)) open fail. | Warnings | wCommWarn1St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Dc contactor #2(string#2(+)) open fail. | Warnings | wCommWarn1St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Dc contactor #3(main(-)) open fail. | Warnings | wCommWarn1St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack <-> system communication fail. | Warnings | wCommWarn1St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ String current imbalance. | Warnings | wCommWarn1St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Fuse #1(string#1(+)) life fail. | Warnings | wCommWarn1St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Fuse #2(string#2(+)) life fail. | Warnings | wCommWarn1St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Fuse #3(main(-)) life fail. | Warnings | wCommWarn1St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Dc contactor #1(string#1(+)) life fail. | Warnings | wCommWarn1St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Dc contactor #2(string#2(+)) life fail. | Warnings | wCommWarn1St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Dc contactor #3(main(-)) life fail. | Warnings | wCommWarn1St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ String voltage imbalance. | Warnings | wCommWarn1St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack pcb over temperature. | Warnings | wCommWarn1St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ User protection enable | Warnings | wCommWarn2St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wCommWarn2St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #1(string#1(+)) sensing fail. | Errors | wCommFlt1St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #2(string#2(+)) sensing fail. | Errors | wCommFlt1St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #3(main(-)) sensing fail. | Errors | wCommFlt1St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #1(string#1(+)) open fail. | Errors | wCommFlt1St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #2(string#2(+)) open fail. | Errors | wCommFlt1St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #3(main(-)) open fail. | Errors | wCommFlt1St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack <-> system communication fail. | Errors | wCommFlt1St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ String current imbalance. | Errors | wCommFlt1St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Fuse #1(string#1(+)) life fail. | Errors | wCommFlt1St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Fuse #2(string#2(+)) life fail. | Errors | wCommFlt1St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Fuse #3(main(-)) life fail. | Errors | wCommFlt1St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #1(string#1(+)) life fail. | Errors | wCommFlt1St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #2(string#2(+)) life fail. | Errors | wCommFlt1St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Dc contactor #3(main(-)) life fail. | Errors | wCommFlt1St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ String voltage imbalance. | Errors | wCommFlt1St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack pcb over temperature. | Errors | wCommFlt1St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ User protection enable | Errors | wCommFlt2St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wCommFlt2St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Cell over voltage. | Warnings | wWarn1St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Cell under voltage. | Warnings | wWarn1St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack cell voltage imbalance. | Warnings | wWarn1St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Cell voltage hold. | Warnings | wWarn1St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Cell over temperature. | Warnings | wWarn1St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Cell under temperature. | Warnings | wWarn1St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Cell temperature imbalance. | Warnings | wWarn1St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn1St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn1St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Module open wire detection. | Warnings | wWarn1St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Recurring the cell over voltage. | Warnings | wWarn1St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Cell deviation fail | Warnings | wWarn1St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Module cell voltage imbalance | Warnings | wWarn1St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn1St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn1St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn1St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Module voltage difference. | Warnings | wWarn2St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack <-> module communication fail #1. | Warnings | wWarn2St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack <-> module communication fail #2. | Warnings | wWarn2St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack <-> module communication fail #3. | Warnings | wWarn2St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ All module sleep. | Warnings | wWarn2St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Afe(module bms) hardware fail #1 | Warnings | wWarn2St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Module pcb over temperature. | Warnings | wWarn2St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Module pcb under temperature. | Warnings | wWarn2St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack <-> module communication fail #4. | Warnings | wWarn2St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Afe(module bms) hardware fail #2 | Warnings | wWarn2St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Afe(module bms) hardware fail #3 | Warnings | wWarn2St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Fire detect condition #1. | Warnings | wWarn2St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Fire detect condition #2. | Warnings | wWarn2St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Fire detect condition #3. | Warnings | wWarn2St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Module ambient over temperature. | Warnings | wWarn2St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Module ambient under temperature. | Warnings | wWarn2St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack over voltage. | Warnings | wWarn3St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack under voltage. | Warnings | wWarn3St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Charge over current. | Warnings | wWarn3St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Charge over current 2nd. | Warnings | wWarn3St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Discharge over current. | Warnings | wWarn3St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Discharge over current 2nd. | Warnings | wWarn3St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Charge current limit fail. | Warnings | wWarn3St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Discharge current limit fail. | Warnings | wWarn3St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Current sensor#2 charge over current. | Warnings | wWarn3St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Current sensor#2 discharge over current. | Warnings | wWarn3St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Sensor current difference. | Warnings | wWarn3St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Recurring the charge current limit fail. | Warnings | wWarn3St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Afe(module bms) hardware fail #4 | Warnings | wWarn3St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn3St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn3St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn3St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Sensor voltage difference. | Warnings | wWarn4St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Sensor sleep. | Warnings | wWarn4St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack <-> sensor communication fail #1. | Warnings | wWarn4St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Rack <-> sensor communication fail #2. | Warnings | wWarn4St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Additional protection fail. | Warnings | wWarn4St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Fan operation fail. | Warnings | wWarn4St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Powerline wiring fail. | Warnings | wWarn4St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn4St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Fuse or dc contactor sensing fail. | Warnings | wWarn4St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Current value stuck. | Warnings | wWarn4St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Current sensing wire open or short. | Warnings | wWarn4St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn4St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn4St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Reserved | Warnings | wWarn4St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Permanent protection. | Warnings | wWarn4St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
W ¦ Emergency stop protection. | Warnings | wWarn4St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Cell over voltage. | Errors | wFlt1St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Cell under voltage. | Errors | wFlt1St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack cell voltage imbalance. | Errors | wFlt1St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Cell voltage hold. | Errors | wFlt1St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Cell over temperature. | Errors | wFlt1St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Cell under temperature. | Errors | wFlt1St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Cell temperature imbalance. | Errors | wFlt1St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt1St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt1St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Module open wire detection. | Errors | wFlt1St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Recurring the cell over voltage. | Errors | wFlt1St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Cell deviation fail | Errors | wFlt1St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Module cell voltage imbalance | Errors | wFlt1St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt1St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt1St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt1St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Module voltage difference. | Errors | wFlt2St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack <-> module communication fail #1. | Errors | wFlt2St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack <-> module communication fail #2. | Errors | wFlt2St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack <-> module communication fail #3. | Errors | wFlt2St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ All module sleep. | Errors | wFlt2St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Afe(module bms) hardware fail #1 | Errors | wFlt2St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Module pcb over temperature. | Errors | wFlt2St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Module pcb under temperature. | Errors | wFlt2St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack <-> module communication fail #4. | Errors | wFlt2St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Afe(module bms) hardware fail #2 | Errors | wFlt2St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Afe(module bms) hardware fail #3 | Errors | wFlt2St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Fire detect condition #1. | Errors | wFlt2St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Fire detect condition #2. | Errors | wFlt2St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Fire detect condition #3. | Errors | wFlt2St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Module ambient over temperature. | Errors | wFlt2St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Module ambient under temperature. | Errors | wFlt2St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack over voltage. | Errors | wFlt3St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack under voltage. | Errors | wFlt3St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Charge over current. | Errors | wFlt3St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Charge over current 2nd. | Errors | wFlt3St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Discharge over current. | Errors | wFlt3St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Discharge over current 2nd. | Errors | wFlt3St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Charge current limit fail. | Errors | wFlt3St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Discharge current limit fail. | Errors | wFlt3St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Current sensor#2 charge over current. | Errors | wFlt3St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Current sensor#2 discharge over current. | Errors | wFlt3St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Sensor current difference. | Errors | wFlt3St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Recurring the charge current limit fail. | Errors | wFlt3St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Afe(module bms) hardware fail #4 | Errors | wFlt3St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt3St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt3St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt3St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Sensor voltage difference. | Errors | wFlt4St | 0 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Sensor sleep. | Errors | wFlt4St | 1 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack <-> sensor communication fail #1. | Errors | wFlt4St | 2 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Rack <-> sensor communication fail #2. | Errors | wFlt4St | 3 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Additional protection fail. | Errors | wFlt4St | 4 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Fan operation fail. | Errors | wFlt4St | 5 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Powerline wiring fail. | Errors | wFlt4St | 6 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt4St | 7 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Fuse or dc contactor sensing fail. | Errors | wFlt4St | 8 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Current value stuck. | Errors | wFlt4St | 9 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Current sensing wire open or short. | Errors | wFlt4St | 10 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt4St | 11 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt4St | 12 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Reserved | Errors | wFlt4St | 13 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Permanent protection. | Errors | wFlt4St | 14 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0
A ¦ Emergency stop protection. | Errors | wFlt4St | 15 | On rising edge | <No value> | 0 | <No value> | 0 | <No value> | 0 | False | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | <No value> | False | 0 | 0 | 0